## Slide 1: PHYSICAL SECURITY DOMAIN
Note: these are slides that were part of a CISSP prep course that I partly developed and taught while I was with Ernst and Young.
While these slides are dated – August 1999 - the core information is still relevant.
Contact me w/ any questions or comments –
Ben Rothke, CISSP brothke@hotmail.com

## Slide 2: Objectives
To address the threats, vulnerabilities, and countermeasures which can be utilized to physically protect an enterprise’s resources and sensitive information to include people, facilities, data, equipment, support systems, media, and supplies.
To discuss considerations for choosing a secure site, its design and configuration, and the methods for securing the facility against unauthorized access, theft of equipment and information, and the environmental and safety measures needed to protect people, the facility, and its resources.

## Slide 3: Topics to Be Covered
Physical Security Threats
Site Design and Configuration
Physical Security Requirements
  For Centralized Computing Facilities
  For Distributed Processing Facilities
  For Extended Processing

## Slide 4: References Used
Handbook of Information Security Management 1999 - Krause & Tipton
Computer Security Handbook, Third Edition - Hutt, Bosworth & Hoyt
(ISC)2 CBK Review Materials
An Introduction to Computer Security: The NIST Handbook

## Slide 5: What Does Physical Security Include?
Physical Access Controls
  Guards
  Fences
  Barriers
  Lighting
  Keys and Locks
  Badges
  Escorts
  Property Controls
  Monitoring/Detection Systems

## Slide 6: What Else Does Physical Security Cover?
Environmental Protection
  Power Protection
  HVAC
  Water Protection
  Fire Detection
  Fire Suppression
  Evacuation
  Environmental Monitoring/Detection

## Slide 7: Physical Security Threats
Threat Components
  Agents
  Motives
  Results
External Threats
  Wind/Tornado
  Flooding
  Lightning
  Earthquake
  Cold and Ice
  Fire
  Chemical

## Slide 8: Threat Identification (continued)
Internal Physical Threats
  Fire
  Environmental Failure
  Liquid Leakage
  Electrical Interruption
Human Threats
  Theft
  Vandalism
  Sabotage
  Espionage
  Errors

## Slide 9: Site Design & Configuration Considerations
Location and Access
  Local Crime
  Visibility
  Emergency Access
  Natural Hazards
  Air and Surface Traffic
  Joint Tenants
  Stable Power Supply
  Existing Boundary Protection (Barriers/Fencing/Gates)

## Slide 10: Boundary Protection
Area Designation: Facilitates Enforcement
Vehicular Access
Personnel Access
  Occupants
  Visitors (Escort & Logging)
Fences
  Deter Casual Trespassing
  Compliments Other Access Controls
  Aesthetics
  Won’t Stop Determined Intruder

## Slide 11: Boundry Protection (continued)
Lighting
  Entrances
  Parking Areas
  Critical Areas
Perimeter Detection Systems
  Does Not Prevent Penetration
  Alerts Response Force
  Requires Response
  Nuisance Alarms
  Costly

## Slide 12: Boundry Protection (continued)
CCTV
  Efficiency
  Requires Human Response
  Limitations
Staffing
  Access Control Points
  Patrols
  Employees

## Slide 13: Computing Facility Requirements (continued)
Walls
  True Floor to Ceiling
  Fire Rating (at least 1 hour)
  Penetrations
  Adjacent Areas
Doors
  Interior/Exterior
  Hinges
  Fire Rating
  Alarms
  Monitoring

## Slide 14: Computing Facility Requirements (continued)
Windows/Openings
  Interior/Exterior
  Fixed
  Shatterproof
Computer and Equipment Room Lay Out
  Equipment Access
  Storage
  Occupied Areas
  Water Sources
  Cable Routing

## Slide 15: Computing Facility Requirements (continued)
Electrical Power
  Definitions:
    Blackout - Loss of Power
    Brownout - Prolonged Period of Below Normal Voltage
    Noise - Random Disturbance that Interferes with a Device
    Sag - Short Period of Low Voltage
    Spike - Momentary High Voltage
    Surge - Prolonged High Voltage
    Transient - Line Noise/Disturbance at Normal Voltage

## Slide 16: Computing Facility Requirements (continued)
  Dedicated Circuits
  Controlled Access to:
    Power Distribution Panels
    Master Circuit Breakers
    Transformers
    Feeder Cables
  Emergency Power Off Controls
  Voltage Monitoring/Recording
  Surge Protection

## Slide 17: Computing Facility Requirements (continued)
  Backup Power
    Alternate Feeders
    Uninterruptible Power Supply
      Hydrogen Gas Hazard
      Maintenance/Testing
    Emergency Power Generator
      Fuel Consideration
      Maintenance/Testing
      Costs

## Slide 18: Computing Facility Requirements (continued)
Backup Power Requirements
  Lighting
  Physical Access Control Systems
  Fire Protection Systems
  Computing Equipment
    Mainframes
    Servers
    Workstations
  Communications Equipment
  Telephone Systems
  HVAC

## Slide 19: Computing Facility Requirements (continued)
Air Conditioning
  Dedicated
  Controllable
  Independent Power
  Emergency Shut Off Controls
  Positive Pressure
  Protected Air Intakes
  Monitoring

## Slide 20: Computing Facility Requirements (continued)
Humidity Controls
  Risk of Static Electricity
  Risk to Electric Connections
Air Quality (Dust)
Water Protection
  Falling Water
  Rising Water
  Drains
  Protective Coverings
  Moisture Detection Systems

## Slide 21: Fire Prevention & Protection
Fire Elements:
  Fuel
  Oxygen
  Temperature
Causes Of Computer Center Fires
  #1: Electrical Distribution Systems
  #2: Equipment
Fire Classes
  A: Common Compustibles (use Water/Soda Acid)
  B: Liquid (CO2/Soda Acid/Halon)
  C: Electrical (CO2/Halon)

## Slide 22: Fire Prevention & Protection (continued)
Temperatures When Damage Occurs
  Paper Products: 350o
  Computer Equipment: 175o
  Disks: 150o
  Magnetic Media: 100o
Fire Detection
  Manual
  Optical (Photoelectric-Smoke Blocking Light)
  Temperature
  Ionization (Reaction to Charged Particles in Smoke)

## Slide 23: Fire Detection (continued)
  Detectors
    On Ceilings
    Above Suspended Ceilings
    Beneath Raised Floors
    Return Air Ducts
    Cross-Zoning
  Alarms
    Manual & Automated Activation
    Visual & Audible Indication
    Local & Remote Annunciation

## Slide 24: Fire Suppression
Portable Extinguishers
  At Exits
  Mark Locations and Type
  Types A, B & C
  Need to Inspect
Water Sprinkler Systems
  Works to Lower Temperature
  Most Damaging to Equipment
  Conventional Systems
  “Dry Pipe” Systems: Less Risk of Leakage
  Employ in Throughout Building and in all Spaces

## Slide 25: Fire Suppression (continued)
Carbon Dioxide (CO2)
  Colorless/Odorless
  Potentially Lethal
  Removes Oxygen
  Best for Unattended Facilities
  Delayed-Activation in Manned Facilities

## Slide 26: Fire Suppression (continued)
Halon
  Best Protection for Equipment
    Inside Equipment Cabinets/Vaults
    Special Areas
    Above Suspended Ceilings
    Under Raised Floors
  Concentrations <10% are Safe
  Becomes Toxic at 900o
  Depletes Ozone (CFCs)
  Montreal Protocol (1987)
  Halon 1301: Requires Pressurization
  Halon 1211: Self-Pressurization (Portable Extinguishers)

## Slide 27: Fire Prevention & Protection (continued)
Other Considerations
  Training
  Testing
  National Fire Prevention Association (NFPA) Standards
  Local Fire Codes
  Drainage

## Slide 28: Securing Storage Areas
Forms Storage Rooms
  Increased Threat of Fire
  Combustibles
  Access Controls
Media Storage Rooms
  Media Sensitivity
  Segregation
  Access Controls
  Environmental Controls

## Slide 29: Media Protection
Storage
  Media Libraries/Special Rooms
  Cabinets
  Vaults
Location
  Operational
  Off-Site
Transportation

## Slide 30: Protecting Wiring
Optical Fiber
Copper Wire
Certifying the Wiring and Cabling
Controlling Access to Closets and Riser Rooms

## Slide 31: Other Considerations
Dealing with Existing Facilities
  Planning
  Upgrade/Renovation
  Incremental New Construction
Protecting the Protection
  Implement Physical and Environmental Controls for Security Systems
  Protect against both Intentional and Inadvertent Threats

## Slide 32: Personnel Access Controls
Position Sensitivity Designation
Management Review of Access Lists
Background Screening/Re-Screening
Termination/Transfer Controls
Disgruntled Employees

## Slide 33: Access Controls – Locks
Preset Locks and Keys
Programmable Locks
  Mechanical (Cipher Locks)
  Electronic (Keypad Systems): Digital Keyboard
    Number of Combinations
    Number of Digits in Code
    Frequency of Code Change
    Error Lock-Out
    Error Alarms

## Slide 34: Access Controls - Tokens
Security Card Systems
  Dumb Cards
    Photo Identification Badges
    Manual Visual Verification
    Can be Combined with Smart Technology
  Digital Coded (Smart) Cards
    Often Require Use of PIN Number with Card
    Readers: Card Insertion, Card Swipe & Proximity

## Slide 35: Types of Access Cards
Photo ID Cards
Optical Coded Cards (Magnetic Dot)
Electric Circuit Cards (Embedded Wire)
Magnetic Cards (Magnetic Particles)
Metallic Stripe Card (Copper Strips)

## Slide 36: Access Controls - Biometrics
Fingerprint/Thumbprint Scan
Blood Vein Pattern Scan
  Retina
  Wrist
  Hand
Hand Geometry
Facial Recognition
Voice Verification
Keystroke Recorders
Problems
  Cost
  Speed
  Accuracy

## Slide 37: Physical Security in Distributed Processing
Threats
  To Confidentiality
    Sharing Computers
    Sharing Diskettes
  To Availability
    User Errors
  To Data Integrity
    Malicious Code
    Version Control

## Slide 38: Distributed Processing Physical Security Controls (continued)
Office Area Controls
  Entry Controls
  Office Lay-Out
  Personnel Controls
  Hard-Copy Document Controls
  Electronic Media Controls
  Clean-Desk Policy

## Slide 39: Office Area Physical Security Controls (continued)
  Printer/Output Controls
  Property Controls
  Space Protection Devices
  Equipment Lock-Down

## Slide 40: Distributed Processing Physical Security Controls (continued)
Cable Locks
Disk Locks
Port Controls
Power Switch Locks
Keyboard Locks
Cover Locks

## Slide 41: Distributed Processing Physical Security Controls (continued)
Isolated Power Source
  Noise
  Voltage Fluctuations
  Power Outages
Heat/Humidity Considerations
Fire/Water
Magnetic Media Controls

## Slide 42: Extended Processing Physical Security Controls
User Responsibilities Paramount
  Protection against Disclosure
    Shoulder Surfing
    Access to Sensitive Media and Written Material
  Integrity Protection
  Protection against Loss or Theft
    Locks
    Practices
Management Responsibilities
  Approval
  Monitoring

## Slide 43: Other Terms & Abbreviations
Tailgate
Piggy-Back
Stay Behind
Degauss
Remanence
Mantrap
Pass-Back
Dumpster Diving
False Positive/Negative
Montreal Protocol
Duress Alarm
Tamper Alarm
Passive Ultrasonic
Fail Safe/Fail Soft
EPO
IDS
Shoulder Surfing
Electronic Emanation
Tsunami
RFI
Defense in Depth
EMI
Top Guard

## Slide 44: QUESTIONS?